## Slide 1: CME GROUP
CME Group test window will run from 9am to 1pm EDT
Primary data center in Chicago houses all CME Group production applications, Globex, and Clearing as well as Co-location services.
The out-of-region data center houses Disaster Recovery (DR) services and will be accessible according to the failure scenarios highlighted in the following 2 scenarios.
Please note that the CME Group utilizes a Single IP for firms’ connectivity to MQ and a Single DNS name (sftpng.cmegroup.com) for firms’ connectivity to sFTP for production and DR environments.
This two-scenario approach highlights the potential scenarios that could impact customer connectivity during a disaster in Chicago. In both scenarios Clearing and Globex will be available via the Disaster Recovery facility.
Test Scope

## Slide 2: CME GROUP (Cont’d)
Scenario 1: In Region: Chicago Metropolitan Disaster:
The primary data center and redundant access node have been forced to cease operations.
All applications will begin functioning in the out-of-region data center and all Chicago-based connectivity solutions, including GLink and LNET, are inoperable.
Customer connectivity that is not dependent on Chicago data centers will be maintained; there will be no changes required by these customers.
Note: GLink and LNET are out of scope in this first scenario, firms that are dependent on Chicago data centers submitting test trades during this window would need to utilize their back-up order routing facilities. This scenario will run for approximately the first (1) hour of the CME Group test window (9am to 10 am EDT)

## Slide 3: CME GROUP (Cont’d)
Scenario 2: In Region: Primary Data Center Production Room Failure, Co-location Services Available
During this scenario only the applications and production environments are disabled in the primary data center.
All applications will continue functioning in the CME Group out-of-region data center. This scenario also assumes that all carrier and network facilities at the CME Group redundant access node as well as CME Group Co-Location facilities are not impacted by the failure.
All methods of customer connectivity will be maintained, GLink and LNET have been recovered, and there will be no changes required by the customer.
Customers will continue to connect to CME Globex and Clearing applications via production IP addresses.
Note: Glink/LNET have been recovered. Customers will continue to connect to CME Globex and Clearing applications via production IP addresses. LNET has been restored, firms utilizing LNET can test MQ connectivity for the duration of the test. This scenario is scheduled to run for the duration of the CME Group test window (10am to 1pm EDT).
  Single IP address/Production IP address for MQ
  Single DNS name for firms’ connectivity to sFTP (sftpng.cmegroup.com)
  There will not be any Open Outcry testing

## Slide 4: CME GROUP (Cont’d)
Test Preparation
Ping testing will be held on Aug 26th & Sept 23rd from 8:00 a.m. to 1:00 p.m. EDT.
Firms must register via the FIA website
Contact CME Clearing Support (CCS) team at (312) 207-2525 with any questions on MQ IP addresses (same as Prod IP’s) or DNS name for sFTP connectivity (sftpng.cmegroup.com)
General questions may be directed to the Operational Resilience Team – OpRes@cmegroup.com

## Slide 5: CME GROUP (Cont’d)
Support During the Exercise
Members should contact their designated CME customer representative (will be assigned) or Clearing Support Team (312) 207-2525 to report any issues.
Members should contact the GLOBEX Control Center at the GCC Hotline numbers which are: U.S. at +1 800 438 8616, in Europe at +44 207 623 4747 or in Asia at +65 6532 5010 to report any trading problems encountered throughout the test

## Slide 6: CME GROUP (Cont’d)
Test Execution – Globex
a) Verify firm connectivity:
  Clearing DR test window scheduled to begin at 9:00 AM EDT
  Any trades done prior to the start of the test will not be captured.
  October 16th is the valid order entry date
  All fills will be sent back to the Firms with the trade date of October 16th.
  Firms can send a test order in any market
b) Order entry via test script as follows:
  Enter a total of approx. 5 trades, meaningful to your current business
  Firms should send orders that will be listed on GLOBEX for the test.
  Firms may receive crossed trades and/or trades with other counterparties.

## Slide 7: CME GROUP (Cont’d)
Test Execution - Clearing
Clearing – 9:00 AM EDT
  a) Trade reporting to firms’ back-office systems:
  - Firms will verify receipt and delete them.
  b) Connect to CME’s sFTP server, using the Production DNS Name: sftpng@cmegroup.com
  1) Using Friday’s data, FTP the PCS and Large Trader reports.
  - CME staff will verify receipt and delete them.
  2) CME will transmit Thursday’s (Oct 12th)Trade Register and SPAN files.
  - Firms will verify receipt of these files and delete them.
  3) If applicable, enter a block trade for 100 ESH4 @xxxx.xx
  - CME staff will verify receipt of the block trades and delete them.

## Slide 8: CME GROUP (Cont’d)
At the Conclusion of the Exercise
Delete any test trades and testing files
Fail back to your Production environment
Upon test completion firms should complete/submit the test questionnaire posted on the FIA website to recap the test results. No firm names will be used on the recap report
Contact: GCC Hotline numbers which are: U.S. at +1 800 438 8616, in Europe at +44 207 623 4747 or in Asia at +65 6532 5010
Clearing: 312-207-2525